General Plan Safety Element Assessment

Board of Forestry and Fire Protection

****

June 2020

Contents

[Purpose and Background 1](#_Toc23168266)

[Methodology for Review and Recommendations 2](#_Toc23168267)

[General Plan Safety Element Assessment 3](#_Toc23168268)

[Background Information Summary 3](#_Toc23168269)

[Goals, Policies, Objectives, and Feasible Implementation Measures 5](#_Toc23168270)

[Section 1 Avoiding or minimizing the wildfire hazards associated with new uses of land 5](#_Toc23168271)

[Section 2 Develop adequate infrastructure if a new development is located in SRAs or VHFHSZs. 9](#_Toc23168272)

[Section 3 Working cooperatively with public agencies responsible for fire protection. 10](#_Toc23168273)

[Sample Safety Element Recommendations 12](#_Toc23168274)

[A. Maps, Plans and Historical Information 12](#_Toc23168275)

[B. Land Use 12](#_Toc23168276)

[C. Fuel Modification 12](#_Toc23168277)

[D. Access 13](#_Toc23168278)

[E. Fire Protection 13](#_Toc23168279)

[Fire Hazard Planning in Other Elements of the General Plan 14](#_Toc23168280)

[Land Use Element 14](#_Toc23168281)

[Housing Element 14](#_Toc23168282)

[Open Space and Conservation Elements 14](#_Toc23168283)

[Circulation Element 14](#_Toc23168284)

# Purpose and Background

Upon the next revision of the housing element on or after January 1, 2014, the safety element is required to be reviewed and updated as necessary to address the risk of fire for land classified as state responsibility areas and land classified as very high fire hazard severity zones. (Gov. Code, § 65302, subd. (g)(3).)

The safety element is required to include:

* Fire hazard severity zone maps available from the Department of Forestry and Fire Protection.
* Any historical data on wildfires available from local agencies or a reference to where the data can be found.
* Information about wildfire hazard areas that may be available from the United States Geological Survey.
* The general location and distribution of existing and planned uses of land in very high fire hazard severity zones (VHFHSZs) and in state responsibility areas (SRAs), including structures, roads, utilities, and essential public facilities. The location and distribution of planned uses of land shall not require defensible space compliance measures required by state law or local ordinance to occur on publicly owned lands or open space designations of homeowner associations.
* The local, state, and federal agencies with responsibility for fire protection, including special districts and local offices of emergency services. (Gov. Code, § 65302, subd. (g)(3)(A).)

Based on that information, the safety element shall include goals, policies, and objectives that protect the community from the unreasonable risk of wildfire. (Gov. Code, § 65302, subd. (g)(3)(B).) To carry out those goals, policies, and objectives, feasible implementation measures shall be included in the safety element, which include but are not limited to:

* Avoiding or minimizing the wildfire hazards associated with new uses of land.
* Locating, when feasible, new essential public facilities outside of high fire risk areas, including, but not limited to, hospitals and health care facilities, emergency shelters, emergency command centers, and emergency communications facilities, or identifying construction methods or other methods to minimize damage if these facilities are located in the SRA or VHFHSZ.
* Designing adequate infrastructure if a new development is located in the SRA or VHFHSZ, including safe access for emergency response vehicles, visible street signs, and water supplies for structural fire suppression.
* Working cooperatively with public agencies with responsibility for fire protection. (Gov. Code, § 65302, subd. (g)(3)(C).)

The safety element shall also attach or reference any fire safety plans or other documents adopted by the city or county that fulfill the goals and objectives or contains the information required above. (Gov. Code, § 65302, subd. (g)(3)(D).) This might include Local Hazard Mitigation Plans, Unit Fire Plans, Community Wildfire Protection Plans, or other plans.

There are several reference documents developed by state agencies to assist local jurisdictions in updating their safety elements to include wildfire safety. The Fire Hazard Planning, General Plan Technical Advice Series from the Governor’s Office of Planning and Research (OPR), referenced in Government Code section 65302, subdivision (g)(3) and available at

1400 Tenth Street

Sacramento, CA 95814

Phone: (916) 322-2318

The Technical Advice Series is also available from the OPR website ([Technical Advice Series link](https://www.opr.ca.gov/docs/Final_6.26.15.pdf)).\*

The Technical Advice Series provides policy guidance, information resources, and fire hazard planning examples from around California that shall be considered by local jurisdictions when reviewing the safety element of its general plan.

The Board of Forestry and Fire Protection (Board) utilizes this Safety Element Assessment in the Board’s review of safety elements under Government Code section 65302.5. At least 90 days prior to the adoption or amendment of their safety element, counties that contain SRAs and cities or counties that contain VHFHSZs shall submit their safety element to the Board. (Gov. Code, § 65302.5, subd. (b).) The Board shall review the safety element and respond to the city or county with its findings regarding the uses of land and policies in SRAs or VHFHSZs that will protect life, property, and natural resources from

unreasonable risks associated with wildfires, and the methods and strategies for wildfire risk reduction and prevention within SRAs or VHFHSZs. (Gov. Code, § 65302.5, subd. (b)(3).)

The CAL FIRE Land Use Planning team provides expert fire protection assistance to local jurisdictions statewide. Fire captains are available to work with cities and counties to revise their safety elements and enhance their strategic fire protection planning.

# Methodology for Review and Recommendations

Utilizing stafffrom the CAL FIRE Land Use Planning team, the Board has established a standardized method to review the safety element of general plans. The methodology includes

1. reviewing the safety element for the requirements in Government Code section 65302, subdivision (g)(3)(A),
2. examining the safety element for goals, policies, objectives, and implementation measures that mitigate the wildfire risk in the planning area (Gov. Code, § 65302, subd. (g)(3)(B) & (C)), and
3. making recommendations for methods and strategies that would reduce the risk of wildfires (Gov. Code, § 65302.5, subd. (b)(3)(B)).

The safety element will be evaluated against the attached Assessment, which contains questions to determine if a safety element meets the fire safety planning requirements outlined in Government Code, section 65302. The reviewer will answer whether or not a submitted safety element addresses the required information, and will recommend changes to the safety element that will reduce the wildfire risk in the planning area. These recommended changes may come from the list of sample goals, policies, objectives, and implementation measures that is included in this document after the Assessment, or may be based on the reviewer’s knowledge of the jurisdiction in question and their specific wildfire risk. By answering the questions in the Assessment, the reviewer will determine if the jurisdiction’s safety element has adequately addressed and mitigated their wildfire risk. If it hasn’t, any specific recommendations from the reviewer will assist the jurisdiction in revising the safety element so that it does.

Once completed, the Assessment should provide clear guidance to a city or county regarding any areas of deficiency in the safety element as well as specific goals, policies, objectives, and implementation measures the Board recommends adopting in order to mitigate or reduce the wildfire threat in the planning area.

# General Plan Safety Element Assessment

|  |  |  |  |
| --- | --- | --- | --- |
| Jurisdiction: City of Simi Valley | Notes: 2021 Update | CAL FIRE Unit: San Luis Obispo | Date Received: 08/07/2021 |
| County: Ventura | LUPP Reviewer: Gene Potkey | UNIT CONTACT: Garrett Veyna | Date Reviewed: 08/09/2021 |

## Background Information Summary

The safety element must contain specific background information about fire hazards in each jurisdiction.

*Instructions for this table: Indicate whether the safety element includes the specified information. If YES, indicate in the comments where that information can be found; if NO, provide recommendations to the jurisdiction regarding how best to include that information in their revised safety element.*

| Required Information | Yes or No | Comments and Recommendations |
| --- | --- | --- |
| Are Fire Hazard Severity Zones Identified?  *CAL FIRE or Locally Adopted Maps* | Yes | Safety Element (SE) page 8-16, Figure S-3 |
| Is historical data on wildfires or a reference to where the data can be found, and information about wildfire hazard areas that may be available from the United States Geological Survey, included? | Yes | SE, page 8-15, Table S-1 |
| Has the general location and distribution of existing and planned uses of land in very high fire hazard severity zones (VHFHSZs) and in state responsibility areas (SRAs), including structures, roads, utilities, and essential public facilities, been identified? | Yes | SE, page 8-16, Figure S-3 |
| Have local, state, and federal agencies with responsibility for fire protection, including special districts and local offices of emergency services, been identified? | Yes | SE, page 8-3, under Emergency Preparedness |
| Are other fire protection plans, such as Community Wildfire Protection Plans, Local Hazard Mitigation Plans, CAL FIRE Unit or Contract County Fire Plans, referenced or incorporated into the Safety Element? | Yes | SE, page29, SIP S-7, Ventura County Fire Protection District (VCFPD) Strategic Plan  SE, page 8-4, Policy S-1.1, “Multi-Hazard Mitigation Plan and NIMS Plan. Update every five years and/or combine planning efforts with County Multi-Hazard Mitigation Plan and National Incident Management System Plan (HMP/NIMS) planning efforts and routinely implement the strategies in the City’s/County’s HMP/NIMS Plan.”  SE, page 8-27, Safety Implementation Program (SIP) S-1, Multi-Hazard Mitigation Plan.  The City of Simi Valley will adopt Ventura County Multi-Hazard Mitigation Plan upon it next update that is set for completion in 2022. |
| Are residential developments in hazard areas that do not have at least two emergency evacuation routes identified? | Yes | SE page 8-4, Descriptive paragraph and page 8-5 Figure S-1 |
| Have evacuation routes and their capacity, safety, and viability under a range of emergency scenarios been identified? | Yes | SE, page 8-27, SIP S-3, “Emergency Access and Evacuation Routes. The City shall identify evacuation routes and their capacity, safety, and viability under a range of emergency scenarios to provide adequate access for emergency response vehicles and personnel, and residents and workers. Once assessed, the City shall create a plan to mitigate shortfalls.” |

| Is there any other information in the Safety Element regarding fire hazards in SRAs or VHFHSZs? |
| --- |
| No |

## Goals, Policies, Objectives, and Feasible Implementation Measures

The safety element must contain a set of goals, policies, and objectives based on the above information to protect the community from unreasonable risk of wildfire and implementation measures to accomplish those stated goals, policies, and objectives.

*Instructions for this table: Critically examine the submitted safety element and determine if it is adequate to address the jurisdiction’s unique fire hazard. Answer YES or NO appropriately for each question below. If the recommendation is irrelevant or unrelated to the jurisdiction’s fire hazard, answer N/A. For NO, provide information in the Comments/Recommendations section to help the jurisdiction incorporate that change into their safety element revision. This information may utilize example recommendations from Sample Safety Element Recommendations and**Fire Hazard Planning in Other Elements of the General Plan**below, may indicate how high of a priority this recommendation is for a jurisdiction, or may include other jurisdiction-specific information or recommendations.*

### Section 1 Avoiding or minimizing the wildfire hazards associated with new uses of land

| Questions | Yes or No | Comments and Recommendations |
| --- | --- | --- |
| Does local ordinance require development standards that meet or exceed title 14, CCR, division 1.5, chapter 7, subchapter 2, articles 1-5 (commencing with section 1270) (**SRA Fire Safe Regulations**) and title 14, CCR, division 1.5, chapter 7, subchapter 3, article 3 (commencing with section 1299.01) (**Fire Hazard Reduction Around Buildings and Structures Regulations**) for SRAs and/or VHFHSZs? | Yes | SE, page 8-11 Policy S-7.2 “Fire Department Review.Continue review by the Ventura County Fire Protection District of all proposed structures and developments within the community to mitigate potential wildland fire loss and damage.”  The following ordinances are from VCFPD that meet the criteria that is being sought after:  VCFPD Ordinance 29 Fire Apparatus Access Code.  VCFPD Ordinance 31 Fire Code.  VCFPD Fire Hazard Reduction Program, Standards and Guidelines; 501 Fire Apparatus Access, 502 Premises Identification, 515 Defensible Space and Fuel Modification Zones, 14.5.3 Fire Hydrants  These ordinances are the implementation measures from the policy. |
| Are there goals and policies to avoid or minimize new residential development in VHFHSZs? | Yes | SE, page 8-18, Policy S-7.2, “New Residential Development in Fire Hazard Areas. When feasible, avoid development in Very High Fire Hazard Severity Zones. When not avoidable, require new residential development, including additions to existing structures, in or adjacent to fire hazard areas to minimize hazards to life and property by using fire preventive site design and building materials, offering adequate access and egress, using fire-safe landscaping materials, and incorporating defensible space and other fire suppression techniques.” |
| Has fire safe design been incorporated into future development requirements? | Yes | SE, page 8-18 Policy S-7.3 “Fire Department Review.Continue review by the Ventura County Fire Protection District of all proposed structures and developments within the community to mitigate potential wildland fire loss and damage.”  AND  SE, page 8-29, SIP S-7 Development Review Process AND S-8, Simi Valley Municipal Code. |
| Are new essential public facilities located outside high fire risk areas, such as VHFHSZs, when feasible? | Yes | SE, page 8-18, Policy S-7.4, “New Public Facilities in Fire Hazard Areas. Situate new public facilities away from very high fire hazard zones and high fire risk areas, in alignment with the City’s Multi-Hazard Mitigation Plan.” |
| Are there plans or actions identified to mitigate existing non-conforming development to contemporary fire safe standards, in terms of road standards and vegetative hazard? | 1. Roads – Yes 2. Vegetation management – Yes | SE, page 8-29, SIP S-7, Development Review Process. |
| Does the plan include policies to evaluate re-development after a large fire? | Yes | SE, page 8-7 Policy S-1.11 “Post-Disaster Response. Plan for the continued functioning of critical facilities following a major disaster to help prevent major problems during post-disaster response, such as evacuations, rescues, large numbers of injuries, and major cleanup operations.”  SE, page 8-19 Policy S-7.11 “Post-Fire Debris Flow. Develop and implement a comprehensive approach to mitigate damage and loss due to post-fire debris flow.”  AND  SE page 8-30, SIP S-10 Post-Fire Debris Flow |
| Is fuel modification around homes and subdivisions required for new development in SRAs or VHFHSZs? | Yes | SE, page 8-19 Policy S-7.10 “Fuel Modification. Ensure that new development complies with fuel modification requirements of the Ventura County Fire Protection District, as applicable.” |
| Are fire protection plans required for new development in VHFHSZs? | Yes | SE, page 8-18 Policy S-7.3 “Fire Department Review.Continue review by the Ventura County Fire Protection District of all proposed structures and developments within the community to mitigate potential wildland fire loss and damage.” |
| Does the plan address long term maintenance of fire hazard reduction projects, including community fire breaks and private road and public road clearance? | 1. Fire Breaks – Yes 2. Roads - Yes | 1. Fire Breaks. SE, page, 8-30, SIP S-12, “Fuel Modification. The City shall implement a fuel modification program that includes maintenance requirements, particularly of the fire break between open space and developed areas, plan submittal, and approval process and enforcement.”  2. Roadways. Roadways. Section W105.3 of the VCFD Ordinance 31 addresses public roadways. |
| Is there adequate access (ingress, egress) to new development in VHFHSZs? | Yes | SE, page 8-18 Policy S-7.3 “Fire Department Review.Continue review by the Ventura County Fire Protection District of all proposed structures and developments within the community to mitigate potential wildland fire loss and damage.”  AND  VCFPD Ordinance 29 Fire Apparatus Access Code |
| Are minimum standards for evacuation of residential areas in VHFHSZs defined? | Yes | SE, page 8-7 Policy S-1.6 “Evacuation Planning. Coordinate evacuation planning, including evacuation routes, among emergency responders including the Ventura County Fire Protection District, Sheriff’s Department, the California Highway Patrol, and law enforcement agencies in other local jurisdictions.” |
| If areas exist with inadequate access/evacuation routes, are they identified? Are mitigation measures or improvement plans identified? | 1. Access- Yes 2. Evacuation- Yes | SE, page 8-7, Policy S-1.7, “Evacuation Routes. Focus increased attention on City evacuation plans on areas where inadequate emergency response access and/or inadequate evacuation routes exist, including residential neighborhoods with a single entry/exit point as illustrated in Figure S-1, and vulnerable populations, such as senior housing facilities and schools, and others without access to a personal vehicle.” |
| Are there policies or programs promoting public outreach about defensible space or evacuation routes? Are there specific plans to reach at-risk populations? | 1. Defensible space – Yes 2. Evacuation – Yes 3. At-Risk - Yes | 1. Defensible space. SE, page 8-19 Policy S-7.12. “Public Education. Promote public education of residents regarding site design, landscaping, location of materials, and brush landscaping and/or clearance in wildland/urban interface areas to prevent and reduce fire hazards, ensuring educational materials and public meetings include English and Spanish language materials and sign language translators.”  2. Evacuation. SE, page 8-7, Policy S-1.9, “Community Information and Education. Provide community awareness information and education about potential health, natural, and human-caused hazards in Simi Valley and how to responsibly prepare for or mitigate them. Ensure all materials are available in Spanish and other languages as requested by community members. Increase outreach to communities in areas with single entry/exit roadways as illustrated in Figure S-1.”  AND  SE, page 8-28, SIP S-6, Public Education Programs, and SE, page 8-30, SIP S-11, Fire Hazard Protection.  3. At-Risk Population. SE, page 8-7, Policy S-1.10, “Identify At-Risk Populations. Identify isolated seniors, persons with chronic health problems, children, and others who may need assistance in natural disasters such as fires, earthquakes, or floods, and maintain a mitigation plan or plans as appropriate for various at-risk groups, including public outreach, coordination of volunteer groups, and dissemination of information among partner organizations. In particular, determine if these at-risk populations exist in areas identified on Figure S-1 and inform emergency partners.” |
| Does the plan identify future water supply for fire suppression needs? | Yes | SE, page 8-14 Policy S-6.4 “Adequate Infrastructure. Continue to assess the water pressure for fire suppression and evaluated and implement feasible solutions.” |
| Does new development have adequate fire protection? | Yes | SE, page 8-11 Policy S-7.1 “Intergovernmental Coordination. Cooperate with the Ventura County Fire Protection District in periodically evaluating services and service criteria to ensure that the City continues to receive adequate fire protection, prevention services, and information sharing protocols.” |

### Section 2 Develop adequate infrastructure if a new development is located in SRAs or VHFHSZs.

| Does the plan identify adequate infrastructure for new development related to: | Yes or No | Comments and Recommendations |
| --- | --- | --- |
| Water supply and fire flow? | Yes | SE, page 8-14 Policy S-6.4 “Adequate Infrastructure. Continue to assess the water pressure for fire suppression and evaluated and implement feasible solutions.” |
| Location of anticipated water supply? | Yes | SE, page 8-14 Policy S-6.4 “Adequate Infrastructure. Continue to assess the water pressure for fire suppression and evaluated and implement feasible solutions.” AND  VCFPD Standards and Guidelines 14.5.3 Fire Hydrants. |
| Maintenance and long-term integrity of water supplies? | Yes | SE, page 8-14, Policy S-6.5, “Water Supply. Continue to work with Ventura County Waterworks District 8 to update the Urban Water Management Plan for Simi Valley to assess and ensure long-term integrity of water supply to the city for fire suppression.” |
| Evacuation and emergency vehicle access? | 1. Evacuation – Yes 2. Access - Yes | 1. Evacuation. SE page 8-3 Policy S-1.6 “Evacuation Planning. Coordinate evacuation planning, including evacuation routes, among emergency responders including the Ventura County Fire Protection District, Sheriff’s Department, the California Highway Patrol, and law enforcement agencies in other local jurisdictions.  2. Access. VCFPD Ordinance 29 Fire Apparatus Access Code |
| Fuel modification and defensible space? | 1. Fuel Modification-Yes 2. Defensible Space-Yes | 1. Fuel Modification. SE page 8-19, Policy S-7.10, “Fuel Modification. Ensure that new development complies with fuel modification requirements of the Ventura County Fire Protection District, as applicable.  2. Defensible Space. VCFPD Standards and Guidelines 515 Defensible Space and Fuel Modification Zones |
| Vegetation clearance maintenance on public and private roads? | Yes | Section W105.3 of the VCFD Ordinance 31 addresses public roadways. |
| Visible home and street addressing and signage? | Yes | VCFPD Standards & Guidelines, 502 Premises Identification |
| Community fire breaks? Is there a discussion of how those fire breaks will be maintained? | Yes | SE, page 8-30, SIP S-12, “Fuel Modification. The City shall implement a fuel modification program that includes maintenance requirements, particularly of the fire break between open space and developed areas, plan submittal, and approval process and enforcement.”  VCFPD Strategic Plan, page 51, Objectives;  2. To assess all areas of natural vegetation that threaten values at risk, to determine strategies for reducing that risk.  4. To develop and maintain strong programs for vegetation management and fire hazard reduction while protecting the environment and preserving habitats. |

### Section 3Working cooperatively with public agencies responsible for fire protection.

| Question | Yes or No | Comments and Recommendations |
| --- | --- | --- |
| Is there a map or description of existing emergency service facilities and areas lacking service, specifically noting any areas in SRAs or VHFHSZs? | 1. Emergency service facilities – Yes  2. Lacking Service areas - Yes | The General Plan Environmental Impact Report (EIR) Volume Chapter 2 page 4, Section 4.14.2 and Figure 4.14-1.  SE, page 8-18 Policy S-7.1 “Intergovernmental Coordination. Cooperate with the Ventura County Fire Protection District in periodically evaluating services and service criteria to ensure that the City continues to receive adequate fire protection, prevention services, and information sharing protocols.” |
| Does the plan include an assessment and projection of future emergency service needs? | Yes | SE, page 8-18 Policy S-7.1 “Intergovernmental Coordination. Cooperate with the Ventura County Fire Protection District in periodically evaluating services and service criteria to ensure that the City continues to receive adequate fire protection, prevention services, and information sharing protocols.” |
| Are goals or standards for emergency services training described? | Yes | SE, page 8-27, Policy S-2, “Personnel Training. The City shall coordinate with County and State agencies to ensure new and existing staff receive training on the most up-to-date practices for fire prevention and suppression, including in extreme wildfire conditions.”  The city does not have a contractual obligation with the VCFPD with regards to training. Training requirements and standards are of the VCFPD responsibility. |
| Does the plan outline inter-agency preparedness coordination and mutual aid multi-agency agreements? | Yes | SE, page 8-8, Policy S-2.1, “Mutual Aid Agreements. Continue to participate in mutual-aid agreements to ensure adequate resources, facilities, and other support for emergency response.”  SE, page 8-8, Policy S-2.2, “Intergovernmental Partnership. Maintain ongoing partnerships with federal, state, county, and  local governmental agencies to identify and implement disaster mitigation actions, including  information sharing.”  SE, page 8-8, Policy S-2.3, “Emergency and Disaster Exercises. Coordinate with Ventura County, Los Angeles County, and other jurisdictions to conduct emergency and disaster-preparedness exercises to periodically test  operational and emergency plans.” |

# Sample Safety Element Recommendations

These are examples of specific policies, objectives, or implementation measures that may be used to meet the intent of Government Code sections 65302, subdivision (g)(3) and 65302.5, subdivision (b). Safety element reviewers may make recommendations that are not included here.

## A. Maps, Plans and Historical Information

1. Include or reference CAL FIRE Fire Hazard Severity Zone maps or locally adopted wildfire hazard zones.
2. Include or reference the location of historical information on wildfires in the planning area.
3. Include a map or description of the location of existing and planned land uses in SRAs and VHFHSZs, particularly habitable structures, roads, utilities, and essential public facilities.
4. Identify or reference a fire plan that is relevant to the geographic scope of the general plan, including the Unit/Contract County Fire Plan, Local Hazard Mitigation Plan, and any applicable Community Wildfire Protection Plans.
5. Align the goals, policies, objectives, and implementation measures for fire hazard mitigation in the safety element with those in existing fire plans, or make plans to update fire plans to match the safety element.
6. Create a fire plan for the planning area.

## B. Land Use

1. Develop fire safe development codes to use as standards for fire protection for new development in SRAs or VHFHSZs that meet or exceed the statewide minimums in the SRA Fire Safe Regulations.
2. Adopt and have certified by the Board of Forestry and Fire Protection local ordinances which meet or exceed the minimum statewide standards in the SRA Fire Safe Regulations.
3. Identify existing development that do not meet or exceed the SRA Fire Safe Regulations or certified local ordinances.
4. Develop mitigation measures for existing development that does not meet or exceed the SRA Fire Safe Regulations or certified local ordinances or identify a policy to do so.

## C. Fuel Modification

1. Develop a policy to communicate vegetation clearance requirements to seasonal, absent, or vacation rental owners.
2. Identify a policy for the ongoing maintenance of vegetation clearance on public and private roads.
3. Include fuel breaks in the layout/siting of subdivisions.
4. Identify a policy for the ongoing maintenance of existing or proposed fuel breaks.
5. Identify and/or map existing development that does not conform to current state and/or locally adopted fire safety standards for access, water supply and fire flow, signing, and vegetation clearance in SRAs or VHFHSZs.

6. Identify plans and actions for existing non-conforming development to be improved or mitigated to meet current state and/or locally adopted fire safety standards for access, water supply and fire flow, signing, and vegetation clearance.

## D. Access

1. Develop a policy that approval of parcel maps and tentative maps in SRAs or VHFHSZs is conditional based on meeting the SRA Fire Safe Regulations and the Fire Hazard Reduction Around Buildings and Structures Regulations, particularly those regarding road standards for ingress, egress, and fire equipment access. (See Gov. Code, § 66474.02.)

2. Develop a policy that development will be prioritized in areas with an adequate road network and associated infrastructure.

3. Identify multi-family housing, group homes, or other community housing in SRAs or VHFHSZs and develop a policy to create evacuation or shelter in place plans.

4. Include a policy to develop pre-plans for fire risk areas that address civilian evacuation and to effectively communicate those plans.

5. Identify road networks in SRAs or VHFHSZs that do not meet title 14, CCR, division 1.5, chapter 7, subchapter 2, articles 2 and 3 (commencing with section 1273.00) or certified local ordinance and develop a policy to examine possible mitigations.

## E. Fire Protection

1. Develop a policy that development will be prioritized in areas with adequate water supply infrastructure.
2. Plan for the ongoing maintenance and long-term integrity of planned and existing water supply infrastructure.
3. Map existing emergency service facilities and note any areas lacking service, especially in SRAs or VHFHSZs.
4. Project future emergency service needs for the planned land uses.
5. Include information about emergency service trainings or standards and plans to meet or maintain them.
6. Include information about inter-agency preparedness coordination or mutual aid agreements.

# Fire Hazard Planning in Other Elements of the General Plan

When updating the General Plan, here are some ways to incorporate fire hazard planning into other elements. Wildfire safety is best accomplished by holistic, strategic fire planning that takes advantage of opportunities to align priorities and implementation measures within and across plans.

## Land Use Element

Goals and policies include mitigation of fire hazard for future development or limit development in very high fire hazard severity zones.

Disclose wildland urban-interface hazards, including fire hazard severity zones, and/or other vulnerable areas as determined by CAL FIRE or local fire agency.

Design and locate new development to provide adequate infrastructure for the safe ingress of emergency response vehicles and simultaneously allow citizen egress during emergencies.

Describe or map any Firewise Communities or other fire safe communities as determined by the National Fire Protection Association, Fire Safe Council, or other organization.

## Housing Element

Incorporation of current fire safe building codes.

Identify and mitigate substandard fire safe housing and neighborhoods relative to fire hazard severity zones.

Consider diverse occupancies and their effects on wildfire protection (group housing, seasonal populations, transit-dependent, etc).

## Open Space and Conservation Elements

Identify critical natural resource values relative to fire hazard severity zones.

Include resource management activities to enhance protection of open space and natural resource values.

Integrate open space into fire safety planning and effectiveness.

Mitigation for unique pest, disease and other forest health issues leading to hazardous situations.

## Circulation Element

Provide adequate access to very high fire hazard severity zones.

Develop standards for evacuation of residential areas in very high fire hazard severity zones.

Incorporate a policy that provides for a fuel reduction maintenance program along roadways.